2007-05-16
DV REPORT - EED  timeline 15 May 2007

OVERVIEW 

The usual absorption problems with high cadence runs 
continue. There are several missing images when
entering night, these are often long exposures, most
likely the result of an exposure being interrupted by CTL_MANU.
Information from the camera HK data may confirm this.

On 16-May between 03:02:30 and 03:09:30 we lost 16
images. More study is needed for this case.

REVIEW of QUICKLOOK DATA

OK

TIMELINE REVIEW for 2007/05/14

14 08:40 XOB1388 MHD waves
	OK - usual eclipse absorption problems
      11:06 XOB1388 MHD waves
	OK 
      11:47 XOB138F Synoptic 4 filters
	short Ti_poly saturated in core of AR
	Other exposures ok
      11:57 XOB1383 Micro flares
	missing 1 Al_thick 13:01 night
	missing 1 Be_thick 16:30 night
      17:39 XOB138B Synoptic 2 filters
	OK - exposures are OK
      17:49 XOB1383 Micro flares
	OK
16  00:01 XOB138B Synoptic 2 filters
	OK
       00:11 XOB1383 Micro flares
	Missing Be_thick 00:29 - night
            Between 03:02:30 and 03:09:30 missing Ti_p images
		sequence should have 40 Ti_p, only 24 taken.
	Between 04:08:42 and 04:09:12 one missing Ti_p
       06:01 XOB138B Synoptic 2 filters
	Short Al_poly & Ti_poly saturated
       06:11 XOB1388 MHD waves
	OK
       10:06 XOB137B Backup Synoptic - NOT RUN

ORGANIZE SAO SUPPORT
	No new requests

COLLECT SCREENSHOTS

The time line and screen shots are at
http://xrt.cfa.harvard.edu/missionops/restricted/timelines/20070514_Plan/